CONSULTING ENGINEERS

2007 SE Ash Street

Portland, OR 97214

503-234-0548

email@mfia-eng.com

**SUBMITTAL REVIEW**

|  |
| --- |
| **Project:** Foster Shelter |
|        |
| **Architect:** Merryman Barnes/CHA |

**Date: January 27, 2020**

**Job No.:**

We have completed our review of the Mech & Plumbing O&Ms (1-22-20) and have the following comments:

**GENERAL NOTES:**

Contractor shall coordinate with mechanical equipment submitted and to make any necessary changes to electrical, to provide manufacturers recommended wire size (associated conduit size), overcurrent protection, etc. Any additional costs incurred from changes due to substituted equipment shall be at the contractor’s expense.

|  |  |  |  |
| --- | --- | --- | --- |
|  | **ITEM** |  | **COMMENT** |
| 1. | Lighting |  | Lighting redline is provided |
| 2. | Power |  | Power redline is provided |
| 3. | Telcom |  | Telcom note is provided |
| 4. | Fire alarm |  | Fire alarm as-built is provided |
| 5. | Equipment O&Ms |  | Most equipment O&Ms have been provided  |
| 6. | Submittals |  | The submittal package has been included. |
|  |  |  |  |

Checking is only for general conformance with the design concept of the project and general compliance with the information given in the contract documents. Any action shown is subject to the requirements of the plans and specifications. Contractor is responsible for: Dimensions which shall be confirmed and correlated at the job site; fabrication processes and techniques of construction; coordination of his work with that of all other trades; and the satisfactory performance of his work.

Sincerely,

Mark Denyer

MFIA, Inc.