CONSULTING ENGINEERS

2007 SE Ash Street

Portland, OR 97214

503-234-0548

email@mfia-eng.com

**SUBMITTAL REVIEW**

|  |
| --- |
| **Project:** Foster Shelter |
|        |
| **Architect:** Merryman Barnes/CHA |

**Date: January 22, 2020**

**Job No.:**

We have completed our review of the Mech & Plumbing O&Ms (1-22-20) and have the following comments:

**GENERAL NOTES:**

Contractor shall coordinate with mechanical equipment submitted and to make any necessary changes to electrical, to provide manufacturers recommended wire size (associated conduit size), overcurrent protection, etc. Any additional costs incurred from changes due to substituted equipment shall be at the contractor’s expense.

|  |  |  |  |
| --- | --- | --- | --- |
|  | **ITEM** |  | **COMMENT** |
| 1. | Warranty |  | The warranty letter by the GC is included. |
| 2. | Subcontract list |  | The list is included. |
| 3. | Sub Contract Warranty |  | The warranty letter is included. |
| 4. | Tab |  | The Balancing Report is included. |
| 5. | Equipment O&Ms |  | Most equipment O&Ms have been provided - **it appears the RTU O&Ms are missing.** |
| 6. | Submittals |  | The submittal package has been included. |
| 7. | As-builts |  | As-Built drawings have been provided. |

Checking is only for general conformance with the design concept of the project and general compliance with the information given in the contract documents. Any action shown is subject to the requirements of the plans and specifications. Contractor is responsible for: Dimensions which shall be confirmed and correlated at the job site; fabrication processes and techniques of construction; coordination of his work with that of all other trades; and the satisfactory performance of his work.

Sincerely,

Mark Denyer

MFIA, Inc.