**Susan Emmons North**

Rev 1/Add 1 Summary of revisions

E1.00 Added lighting circuit line types to ledgend

E1.11 Updated electrical service load summary

E1.12 Updated panel schedules as needed per revisions made.

E1.13 Updated residential load summary & panel directories

E1.14 Revised fixture schedule per arch/owner direction

 Added IHP/OHP-4 per mechanical revisions

E2.01 Revised lights in mail room

 Changed fixtures and circuit at stair #2.

 Added exterior light fixture at exit door (corridor 127)

E2.02 Revised lights in rm 201, elevator lobby & restroom

 Revised circuit for lights at stair #2.

E2.03 thru E2.06 Revised lights at elevator lobbies.

E3.01 Relocated power for low voltage backboards to 3rd floor.

 Moved j-boxes for entry access from one side of doors to the other as directed.

 Change trash compactor disconnect & controls location as directed & revised circuit designations.

 Added IHP-4 at janitor closet per mechanical revisions & added quad receptacle.

E3.02 Changed receptacles per arch/owner direction.

 Moved INV-@ to electrical closet.

 Moved entry access j-box as directed.

E3.03 Relocated low voltage backboards from 1st floor electrical room to room #322.

 Moved j-box for laundry ATM as directed.

E3.04 Moved dedicated receptacle.

E3.05 Deleted j-box for laundry ATM as directed.

 Added receptacle at storage closet #519.

E3.06 Added OHP-4 per mechanical revisions.

E4.01 thru E4.05 Revised lighting in select units as directed.

 Removed disposal power connections at all units.

 Changed “Micro/Hoods” to hood only connections as directed.

**Susan Emmons North**

Rev 1/Add 1 Summary of revisions

E1.00 Added lighting circuit line types to ledgend.

E1.01 Added site reference note.

E1.11 Revised one-line to show underground secondary service conductors.

E1.12 Updated panel schedules & load summary as needed per revisions made.

 Updated residential load summary & panel directories

E1.13 Revised fixture schedule per arch/owner direction

E2.01 Changed fixture tag on main entrance wall sconces as directed.

 Revised exterior wall sconces at courtyard as directed.

 Revised exterior down lights at trash room.

 Changed ceiling light type at restroom as directed.

E2.02 Moved the courtyard string lights from sheet E2.01 to this sheet as directed by the arch comments.

 Revised fixture types at electrical, storage/janitor, & trash rooms as directed.

E2.03 & E2.04 Revised fixture types at electrical, storage/janitor, & trash rooms as directed.

E3.01 Revised, relocated and/or added receptacles as directed. (rms 102,107,122,131,132).

 Revised sheets notes #13 & #23

E3.02 Added receptacles at northern corridor and relocated laundry room devices to match floor plan changes.

E3.03 Revised, relocated and/or added receptacles as directed. (office & storage).

 Added IHP-4 per mechanical revisions

E3.04 Added OHP-4 per mechanical revisions.

E4.01 thru E4.07 Revised lighting in select units as directed.

 Removed disposal power connections at all units.

 Changed “Micro/Hoods” to hood only connections as directed.

 Changed load center panel to flush mount in unit type 1-ADA (detail 2/E4.01).